手持式折射仪

手持式折射仪是为测量溶液的浓度或水溶性混合物的比例而设计的精密的光学仪器。简单易用，且价格优惠。它是为测量多种溶液浓度而专门设计的,如:水果汁、饮料、蜂蜜 、盐水、海水、清洗液、电池液、防冻液和工业溶液等.只要滴几滴液体在棱镜上，然后向着光观察，就可以读出溶液的浓度。如果标有ATC的是增加了温度自动补偿系统。

专利证书

| 证书号码： | ZL 99 3 06307.1 |
| --- | --- |

| 请选择分类 - 糖度仪. - 盐度仪. - 医用蛋白仪. - 电池液/防冻液/清洗液测试仪. - 测酒精仪. - 蜂蜜测试仪. - 隐形眼镜测试仪. - 葡萄测试仪. - 豆乳仪. - 宝石折射仪. - °OE值测试仪. |  |
| --- | --- |

糖度仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHB0-80 | Brix: 0-80% | Brix: 0.5% | Brix: ±0.5% | Without Atc |
| RHB0-90 | Brix: 0-90% | Brix: 0.2% | Brix: ±0.2% | Without Atc |
| RHB-10 | Brix: 0-10% | Brix: 0.1% | Brix: ±0.10% | Without Atc |
| RHB-10ATC | Brix: 0-10% | Brix: 0.1% | Brix: ±0.10% | Atc |
| RHB-18 | Brix: 0-18% | Brix: 0.1% | Brix: ±0.10% | Without Atc |
| RHB-32 | Brix: 0-32% | Brix: 0.2% | Brix: ±0.20% | Without Atc |
| RHB-32ATC | Brix: 0-32% | Brix: 0.2% | Brix: ±0.20% | Atc |
| RHB-32bp | Brix: 0-32% | Brix: 0.2% | Brix: ±0.20% | Without Atc |
| RHB-32bpATC | Brix: 0-32% | Brix: 0.2% | Brix: ±0.20% | Atc |
| RHB-5 | Brix: 0-5% | Brix: 0.1% | Brix: ±0.10% | Without Atc |
| RHB-55 | Brix: 0-55% | Brix: 1% | Brix: ±1% | Without Atc |
| RHB58-92 | Brix: 58-92% | Brix: 0.2% | Brix: ±0.2% | Without Atc |
| RHB-62 | Brix: 28-62% | Brix: 0.2% | Brix: ±0.20% | Without Atc |
| RHB-62ATC | Brix: 28-62% | Brix: 0.2% | Brix: ±0.20% | ATC |
| RHB-82 | Brix: 45-82% | Brix: 0.5% | Brix: ±0.5% | Without Atc |
| RHB-82ATC | Brix: 45-82% | Brix: 0.5% | Brix: ±0.5% | Atc |
| RHB-90 | Brix: 58-90% Baume: 38-43Be' water: 12-27% | Brix: 0.5% Baume: 0.5Be' water: 1% | Brix: ±0.5% Baume: ±0.5Be' water: ±1% | Without Atc |
| RHB-90ATC | Brix: 58-90% Baume: 38-43Be' water: 12-27% | Brix: 0.5% Baume: 0.5Be' water: 1% | Brix: ±0.5% Baume: ±0.5Be' water: ±1% | Atc |

盐度仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHS-10 | Salinity: 0-100‰ Specific gravity: 1.000-1.070 | Salinity: 1‰ Specific gravity: 0.001 | Salinity: ±1‰ Specific gravity: ±0.001 | Without Atc |
| RHS-10ATC | Salinity: 0-100‰ Specific gravity: 1.000-1.070 | Salinity: 1‰ Specific gravity: 0.001 | Salinity: ±1‰ Specific gravity: ±0.001 | Atc |
| RHS-28 | Salinity: 0-28% | Salinity: 0.2% | Salinity: ±0.2% | Without Atc |
| RHS-28ATC | Salinity: 0-28% | Salinity: 0.2% | Salinity: ±0.2% | Atc |

医用蛋白仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHC-200 | Serum Protein: 0-12g/dl Specific Gravity: 1.000-1.050sg Refractive Index: 1.330RI-1.360RI | Serum Protein: 0.2g/dl Specific Gravity: 0.005sg Refractive Index: 0.0005RI | Serum Protein: ±0.2g/dl Specific Gravity: ±0.005sg Refractive Index: ±0.0005RI | Without Atc |
| RHC-200ATC | Serum Protein: 0-12g/dl Specific Gravity: 1.000-1.050sg Refractive Index: 1.330RI-1.360RI | Serum Protein: 0.2g/dl Specific Gravity: 0.005sg Refractive Index: 0.0005RI | Serum Protein: ±0.2g/dl Specific Gravity: ±0.005sg Refractive Index: ±0.0005RI | Atc |

电池液/防冻液/清洗液测试仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHA-100 | Ethylene Glycol: -84° F- 32° F Propylene Glycol: -60° F- 32° F Battery: 1.100-1.400sg | Ethylene Glycol: 5° F Propylene Glycol: 5° F Battery: 0.01sg | Ethylene Glycol: ±5° F Propylene Glycol: ±5° F Battery: ±0.01sg | Without Atc |
| RHA-100ATC | Ethylene Glycol: -84° F-32° F Propylene Glycol: -60° F-32° F Battery: 1.100-1.400sg | Ethylene Glycol: 5° F Propylene Glycol: 5° F Battery: 0.01sg | Ethylene Glycol: ±5° F Propylene Glycol: ±5° F Battery: ±0.01sg | ATC |
| RHA-200 | Ethylene Glycol: -60°C-0°C Propylene Glycol: -50°C-0°C Battery: 1.100-1.400sg | Ethylene Glycol: 5°C Propylene Glycol: 5°C Battery: 0.01sg | Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Battery: ±0.01sg | Without Atc |
| RHA-200ATC | Ethylene Glycol: -60°C-0°C Propylene Glycol: -50°C-0°C Battery: 1.100-1.400sg | Ethylene Glycol: 5°C Propylene Glycol: 5°C Battery: 0.01sg | Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Battery: ±0.01sg | ATC |
| RHA-300F | Ethylene Glycol: -60°F-32°F Propylene Glycol: -50°F-32°F Battery: 1.15-1.30sg | Ethylene Glycol: 10°F Propylene Glycol: 10°F Battery: 0.01sg | Ethylene Glycol: ±10°F Propylene Glycol: ±10°F Battery: ±0.01sg | Without Atc |
| RHA-303 | Ethylene Glycol: -70°C-0°C Propylene Glycol: -60°C-0°C Battery: 1.10-1.40sg | Ethylene Glycol: 5°C Propylene Glycol: 5°C Battery: 0.01sg | Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Battery: ±0.01sg | Without Atc |
| RHA-403C | Ethylene Glycol: -50°C-0°C Propylene Glycol: -50°C-0°C Battery: 1.15-1.30sg Cleaner: -40°C-0°C | Ethylene Glycol: 5°C Propylene Glycol: 5°C Battery: 0.01sg Cleaner: 5°C | Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Battery: ±0.01sg Cleaner: ±5°C | Without Atc |
| RHA-501 | Battery: 1.10sg-1.40sg Ethylene Glycol: -60°F-32°F Ethylene Glycol: -50°C-0°C Propylene Glycol: -50°C-0°C Propylene Glycol: -50°F-32°F | Battery: 0.01sg Ethylene Glycol: 10°F Ethylene Glycol: 5°C Propylene Glycol: 5°C Propylene Glycol: 10°F | Battery: ±0.01sg Ethylene Glycol: ±10°F Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Propylene Glycol: ±10°F | Without Atc |
| RHA-503C | Battery: 1.100-1.400sg Ethylene Glycol: -50°C-0°C Propylene Glycol: -50°C-0°C Cleaner: -40°C-0°C | Battery: 0.01sg Ethylene Glycol: 5°C Propylene Glycol: 5°C Cleaner: 5°C | Battery: ±0.01sg Ethylene Glycol: ±5°C Propylene Glycol: ±5°C Cleaner: ±5°C | Without Atc |
| RHA-800 | B：1.000~1.400sg A：0%~100% F：-60℃~0℃ | 0.01sg 5% 5℃ | ±0.01sg ±5% ±5℃ | Without Atc |
| RHA-800ATC | B：1.000~1.400sg A：0%~100% F：-60℃~0℃ | 0.01sg 5% 5℃ | ±0.01sg ±5% ±5℃ | Atc |

测酒精仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHW-80 | v/v: 0-80% | v/v: 1% | v/v: ±1% | Without Atc |

蜂蜜测试仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHH13-25 | Water: 13-25% | Water: 0.1 | Water: ±0.1% | Without Atc |
| RHH-90(RHB-90) | Brix: 58-90% Baume: 38-43Be' water: 12-27% | Brix: 0.5% Baume: 0.5Be' water: 1% | Brix: ±0.5% Baume: ±0.5Be' water: ±1% | Without Atc |
| RHH-90ATC(RHB-90ATC) | Brix: 58-90% Baume: 38-43Be' water: 12-27% | Brix: 0.5% Baume: 0.5Be' water: 1% | Brix: ±0.5% Baume: ±0.5Be' water: ±1% | Atc |

隐形眼镜测试仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHL35-80 | Water: 35-80% | Water: 1% | Water: ±1% | Without ATC |

葡萄测试仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHW-25 | alcohol: 0-25% | alcohol: 0.2% | alcohol: ±0.20% | Without Atc |
| RHW-25a | alcohol: 0-25% Baume: 0-20 | alcohol: 0.2% Baume: 0.2 | alcohol: ±0.2% Baume: ±0.2 | Without Atc |
| RHW-25a ATC | alcohol: 0-25% Baume: 0-20 | alcohol: 0.2% Baume: 0.2 | alcohol: ±0.2% Baume: ±0.2 | Atc |
| RHW-25ATC | alcohol: 0-25% | alcohol: 0.2% | alcohol: ±0.20% | Atc |
| RHW-25b | alcohol: 0-25% Brix: 0-40% | alcohol: 0.2% Brix: 0.2% | alcohol: ±0.2% Brix: ±0.2% | Without Atc |
| RHW-25bATC | alcohol: 0-25% Brix: 0-40% | alcohol: 0.2% Brix: 0.2% | alcohol: ±0.2% Brix: ±0.2% | ATC |

豆乳仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHD-25 | SM: 0-25% | SM: 0.1% | SM: ±0.1% | Without Atc |

宝石折射仪

| 型号 | 测量范围 | 最小刻度 |
| --- | --- | --- |
| RHG-181 | Refractive Index: 1.30-1.81 | Refractive Index: 0.01 |

°OE值测试仪

| 型号 | 测量范围 | 最小刻度 | 分辩率 | 备注 |
| --- | --- | --- | --- | --- |
| RHBS-32 | Brix: 0-32% Oechsle: 0-140°Oe KMW: 0-25°Babo | Brix: 0.2% Oechsle: 1.0°Oe KMW: 0.2° | Brix: ±0.2% Oechsle: ±1.0°Oe KMW: ±0.2° | Without ATC |
| RHBS-32a | Brix: 0-32% Oechsle: 30-140°Oe | Brix: 0.2% Oechsle: 1.0°Oe | Brix: ±0.2% Oechsle: ±1.0°Oe | Without ATC |
| RHBS-32aATC | Brix: 0-32% Oechsle: 30-140°Oe | Brix: 0.2% Oechsle: 1.0°Oe | Brix: ±0.2% Oechsle: ±1.0°Oe | ATC |
| RHBS-32ATC | Brix: 0-32% Oechsle: 0-140°Oe KMW: 0-25°Babo | Brix: 0.2% Oechsle: 1.0°Oe KMW: 0.2° | Brix: ±0.2% Oechsle: ±1.0°Oe KMW: ±0.2° | ATC |
| RHBS-44 | Brix: 0-44% Oechsle: 0-190°Oe KMW: 0-40°Babo | Brix: 0.5% Oechsle: 2.0°Oe KMW: 0.5° | Brix: ±0.5% Oechsle: ±2.0°Oe KMW: ±0.5° | Without Atc |